## Slide 1: ExFaC Hack-A-Thon Cloud Access to Big Data
Materials Science Division
Ray Osborn, Stephan Rosenkranz, Matthew Krogstad
Mathematics and Computer Science Division /Computation Institute, Chicago Justin Wozniak, Michael Wilde, Ian Foster Ben Blaiszik, Kyle Chard, Rachana Ananthakrishnan
Advanced Photon Source Guy Jennings

## Slide 2: Discovery Engines for Big Data
ExFaC Hack-a-thon on Cloud Data Servers - Feb. 28 to Mar. 3
Integrating Simulation and Observation: Discovery Engines for Big Data
  PIs: Ian Foster, Salman Habib, Ray Osborn Coupling experiment and modeling, in cosmology and materials science Develop discovery engine platform for big data applications

## Slide 3: APS Data Rates
ExFaC Hack-a-thon on Cloud Data Servers - Feb. 28 to Mar. 3

## Slide 4: Measuring X-ray Diffuse Scattering with Continuous Rotation Method
ExFaC Hack-a-thon on Cloud Data Servers - Feb. 28 to Mar. 3
Pilatus 2M Detector
The sample is continuously rotated in shutterless mode at 1° per second
A fast area detector (e.g., a Pilatus 2M) acquires images at 10 frames per second
  i.e., 3600 x 8MB frames ~ 30GB every 6 minutes - 5TB a day
The detector needs low background, high dynamic range, and energy discrimination
  Ideally, this is performed with high-energy x-rays, e.g., 80 to 100 keV

## Slide 5: Diffuse Scattering Workflow
Software Development for Synchrotron X-ray Spectroscopies

## Slide 6: Single Crystal Diffuse Scattering from Mullite
ExFaC Hack-a-thon on Cloud Data Servers - Feb. 28 to Mar. 3
Notes: Just to give you a flavor of the high quality of this data, here is the three-dimensional diffuse scattering from mullite, an alumina-silicate with highly correlated vacancy distributions. These are (h,k) planes as a function of l and as you can see, the amount of information contained between the Bragg peaks is extremely rich.

## Slide 7: Expanding the Concept of a Data Set
ExFaC Hack-a-thon on Cloud Data Servers - Feb. 28 to Mar. 3
7￼
Phase Diagram
Total Data: S(Q, T, x)
Correlated Data Analysis/
Machine Learning
Notes: This increase in speed is more than just a qualitative change in how we do science. I think it’s transformative. So while it used to take us a day or so to measure around one Bragg peak, we now collect whole volumes in under half an hour, which allows detailed temperature dependence in half a day, and whole phase diagrams in a week. And every time we do this, we seem to find something unexpected.

## Slide 8: Charge Density Wave formation in Sm2Ru3Ge5
ExFaC Hack-a-thon on Cloud Data Servers - Feb. 28 to Mar. 3
Daniel E. Bugaris, et al (Journal of American Chemical Society, accepted)
Workshop on Midscale Instrumentation for Quantum Materials - December 5-6, 2016

## Slide 9: Materials Data Facility
ExFaC Hack-a-thon on Cloud Data Servers - Feb. 28 to Mar. 3
http://materialsdatafacility.org

## Slide 10: MDF Search
ExFaC Hack-a-thon on Cloud Data Servers - Feb. 28 to Mar. 3

## Slide 11: Remote Data Access
ExFaC Hack-a-thon on Cloud Data Servers - Feb. 28 to Mar. 3

## Slide 12: NeXpy - a Python toolbox for big data
ExFaC Hack-a-thon on Cloud Data Servers - Feb. 28 to Mar. 3
A toolbox for manipulating and visualizing arbitrary NeXus/HDF5 data of any size
  Python API lazily loads HDF5 files into memory
  Large arrays can be manipulated as slabs
A scripting engine for GUI applications
A portal to online data
  subclasses h5py.File as a remote file object
http://nexpy.github.io/nexpy/ $ pip install nexpy
$ conda install -c nexpy nexpy
+
=

## Slide 13: The NeXus File Service (NXFS)
ExFaC Hack-a-thon on Cloud Data Servers - Feb. 28 to Mar. 3
Wozniak et al. Big data remote access interfaces for light source science. Proc. Big Data Computing, 2015.
Tested at APS, SNS, and CHESS

## Slide 14
ExFaC Hack-a-thon on Cloud Data Servers - Feb. 28 to Mar. 3

## Slide 15: NXFS Performance
ExFaC Hack-a-thon on Cloud Data Servers - Feb. 28 to Mar. 3
Faster than application-agnostic remote filesystem technologies
  Compared Pyro to Chirp and SSHFS from inside ANL (L) and AWS EC2 (W)
Plus ability to invoke remote methods!
File open (10-1s)
Metadata read (10-2s)
Pixel read (1s)
Operation and Time Scale

## Slide 16: Conceptual Design of a Cloud Server
ExFaC Hack-a-thon on Cloud Data Servers - Feb. 28 to Mar. 3

## Slide 17: NeXus Wrapper Files
ExFaC Hack-a-thon on Cloud Data Servers - Feb. 28 to Mar. 3
The data from the whole experiment can be encapsulated in a few “wrapper” files.
Large arrays are stored externally to ensure data integrity.
All other metadata is available with a single NeXus file load.
These files can include:
  Raw data arrays from multiple detector configurations
  Transformed data
  Sample and instrument calibration parameters
  Derived data, e.g., peak coordinates
  Provenance information
  Imported SPEC files
  Simulation results

## Slide 18: Cloud Data Servers
ExFaC Hack-a-thon on Cloud Data Servers - Feb. 28 to Mar. 3
It is no longer sufficient to provide a repository for data sets that are too large for users to download.
Instead, we need to establish data servers that can return data slabs and/or associated metadata.
In April, an RDA-sponsored workshop at the Alba Synchrotron will explore the following:
Data Discovery
  How do we integrate existing resources to enable users to locate data?
    e.g., Materials Data Facility, ICAT
Authentication
  How do we provide unified authentication to grant users access to the remote data?
Server Queries
  What queries will allow remote data inspection and selective downloads of data and metadata?
Transfer Protocols
  How do we handle network requests and how do we serialize the data that is returned?
http://materialsdatafacility.org